NANTEN/SMART Overview
Ronan Higgins

---
Problems from 2012 and fixes
- SMART Problems
  - Rotator problem resolved after 2013 service mission
    - Installation of new board and update of software
  - Cold load problems
    - Resolved with installation of new cold load electronics during service mission
  - UPS failure August 2012
    - Ongoing problems
- Telescope problems
  - Load mirror failure, improved system installed problem resolved
- Generators problem, lost of power at site
  - New generator installed and working well (apart from snow influence)

---
Problems of 2013 season
- SMART technical problems
  - UPS failure due to over temperature, possible faulty unit (May 2013)
  - Loss of 810 LO (September 2013)
  - Problems with 490 LO control box (August 2013)
  - Corruption of smartrx hard drive (May 2013)
  - Corruption of smartxffts hard drive (November 2013)
- Site Problems
  - Router failure (June, November 2013)
  - Telescope end switch (September 2013)
  - 2 generators power losses (During snow)
  - Ongoing snow problems, any resolution, ideas?

---
2014 service mission : Software/computers
- Computers
  - Investigate control PC problems
  - smartrx also has problems, sudo apt-get not working for example
  - Install in place backups for smartxffts and smartobs machine
- Machines need to be ordered and tested in Cologne
- Consider buying adderview system, allow vnc access during the bios setup
- Software
  - Add second generator to monitoring software
  - test 100ms synctime on XFFTS

---
2014 upgrade for coming season
- Autotuning algorithm
  - Was promised for last year, Phd student recruited for work to on it this year
- Better data processing, process data up to map level
  - Auto baselining, line detection, regridding
- Improve data distribution, better method than webdav? Better querying of data? Input needed
- Develop Scheduler to automate observing
- General feedback on all aspects welcome